EMSA protocol

Contributors: M Gama-Carvalho

I. Transcription reaction

Prepare hot and cold probes by mixing in the following order and incubating at 37ºC for 1h.

Stocks to prepare beforehand are highlighted.

|  | Setup | G6PD | p27CDS | p27UTR1 | p27UTR2 |
| --- | --- | --- | --- | --- | --- |
| 5 x Tr. buffer | 4µl | 4µl | 4µl | 4µl | 4µl |
| 100mM DTT | 2µl | 2µl | 2µl | 2µl | 2µl |
| 40U/µl RNasin | 0.5µl | 0.5µl | 0.5µl | 0.5µl | 0.5µl |
| 10mM rNTP mix* | 1µl | 1µl | 1µl | 1µl | 1µl |
| 200 µM rCTP | 1.2µl | 1.2µl | 1.2µl | 1.2µl | 1.2µl |
| DNA | 0.4 µg | 3.8µl | 1.8µl | 4.7µl | 3.0µl |
| [α-32P]rCTP** | 5µl | 5µl | 5µl | 5µl | 5µl |
| T7 Pol (20U/µl) | 1µl | 1µl | 1µl | 1µl | 1µl |
| H20 | up to 5.3 µl | 1.5µl | 3.5µl | 0.6µl | 2.3µl |
| Final volume | 20µl | 20µl | 20µl | 20µl | 20µl |

* 10mM rNTP mix: ATP, UTP, GTP mix at 10mM each

** [α-32P]rCTP: at 10mCi/ml = 50µCi total

Concentration of PCR products:

G6PD – 104ng/µl

p27CDS – 228ng/µl

p27UTR1 – 86ng/µl

p27UTR2 – 132ng/µl

Should use 0.2-1µg of DNA – as this is PCR product, can go to lower end

I.I Probe purification

Purify RNA with RNeasy Mini (Qiagen)

Notes:

- β-ME must be added to buffer RLT before use (10µl/ml). Confirm buffer has no precipitates.

- Before using buffer RPE for the first time, add 4 vols of ethanol

- Requires ethanol and RNase free H20

- Adjust sample volume to 100µl with H20. Add 350µl buffer RLT and mix.

- Add 250µl of ethanol to the RNA sample and mix by pippeting.

- Immediately apply sample to column and spin 15 sec at >10 000 rpm (8000g).

- Discard collection tube and transfer column to new tube.

- Pipet 500µl of buffer RPE into the column and spin 15 sec at >10 000 rpm.

- Discard flow through and repeat 5 and spin 2min at >10 000 rpm.

- Transfer the column to a 1.5ml tube and pipet 30µl of H20 into the column.

- Spin for 1min at >10 000 rpm.

II. Binding assay

II.I 6% Native acrylamide gel preparation

For minigels:

4mls 30% Acril/Bisacril (29:1)

4mls 5xTBE

11.8mls H20

0.2 ml 10% APS

16µl TEMED

Polymerize 1hr

Running buffer is 1x TBE

Pre-run 100V 30min

Run 15min 50V to load, then at 100V

II.II Binding reaction

|  | Setup | No protein | Protein | Comp. |
| --- | --- | --- | --- | --- |
| Rec. protein* | 300ng to 10ng | - | 5µl x 4 conc. | 5µl (300ng) |
| Buffer D | Up to 17µl | 17µl | 12µl | 11µl |
| 40U/µl RNasin | 1µl | 1µl | 1µl | 1µl |
| 3µg/µl tRNA | 1µl | 1µl | 1µl | 1µl |
| Hot RNA ** | 1µl | 1µl | 1µl | 1µl |
| Cold RNA*** | increasing | - | - | 1µl |
| Final volume | 20µl | 20µl | 20µl | 20µl |

*Prepare protein dilutions of 300ng, 100ng, 30ng and 10ng in 5µl

Recombinant proteins:

65ΔRS – 100ng/µl

65ΔRS-RBD* - 500ng/µ

** Use 1:3 dilution of probe

*** Use pure probe and dilutions 1:3, 1:9 and 1:27

Mix reactions and incubate 15 min on ice.

Add native loading buffer (50% glycerol, 1x TBE, dye) and run in gel.

II Binding assay version 2

31-1-2007

Binding reaction

|  | Setup | No protein | Protein | Comp. |
| --- | --- | --- | --- | --- |
| Rec. protein* | 100ng to 10ng | - | 5µl x 4 conc. | 5µl (50ng) |
| Buffer D | Up to 17µl | 16µl | 11µl | 10µl |
| 40U/µl RNasin | 1µl | 1µl | 1µl | 1µl |
| 3µg/µl tRNA | 1µl | 1µl | 1µl | 1µl |
| Hot RNA | 2µl | 2µl | 2µl | 2µl |
| Oligo dT** | increasing | - | - | 1µl x 3 conc. |
| Final volume | 20µl | 20µl | 20µl | 20µl |

*Prepare protein dilutions of 100ng, 50ng, 30ng and 10ng in 5µl

65ΔRS stock – 100ng/µl

Prepare reactions without P32 RNA

Heat RNA probe at 75ºC for 5 min and chill on ice

Mix reactions and incubate 15 min on ice.

Add 2µl native sample buffer

Load in a 4% acrylamide TBE gel at 20mA until

bromophenol blue reaches end of gel.

II Binding assay version 3

2-2-2007

Binding reaction

|  | Setup | No protein | Protein | Comp. |
| --- | --- | --- | --- | --- |
| Rec. protein or BSA* | 100ng to 10ng | - | 5µl x 3 conc. | 5µl (50ng) |
| Buffer D | Up to 17µl | 16µl | 12µl | 8, 10, 11, 11.5µl |
| 40U/µl RNasin | 1µl | 1µl | 1µl | 1µl |
| 3µg/µl tRNA | 1µl | 1µl | 1µl | 1µl |
| Hot RNA | 2µl | 2µl | 1µl | 1µl |
| Cold RNA** | increasing | - | - | 4, 2, 1, 0.5 µl |
| Final volume | 20µl | 20µl | 20µl | 20µl |

Experiments:

Competition

32P p27 UTR2 + cold p27 UTR1

32P p27 UTR2 + cold p27CDS

no protein

9 samples, 9 µl of 32P RNA

Negative control

32P p27 UTR2 + BSA                    3 samples, 3µl of 32P RNA

32P p27 G6PD + BSA

no protein                                     4 samples, 4µl of 32P RNA

Total samples: 16

*Prepare protein dilutions of 100ng, 30ng and 10ng in 5µl

Prepare reactions without P32 RNA

Heat RNA probe at 75ºC for 5 min and chill on ice

Mix reactions and incubate 15 min on ice.

Add 2µl native sample buffer

Load in a 4% acrylamide TBE gel at 20mA until bromophenol blue reaches end of gel.

From the literature:

Native gels:

- We generally load 1 µg and 2.5 µg samples on 1% agarose gels in TBE (89 mM Tris-HCl pH 7.8, 89 mM borate, 2 mM EDTA) with 0.5 µg/ml ethidium bromide added to the gel.

- Add 10X native agarose gel loading buffer (15% ficoll, 0.25% xylene cyanol, 0.25% bromophenol blue) to the RNA samples to a final concentration of 1X.

- On native gels, the samples can be loaded directly without heating.

- An aliquot of intact RNA should always be run as a positive control to rule out unusual results due to gel artifacts.

- Run the gel at 5-6 V/cm measured between the electrodes.

Original protocol date: January 2007

Last protocol update: October 2012