Lab Plans and Actions for Week 07/20/08-07/27/08

| Scientist | Report (08/03) | Plans (08/03-08/10) |
| --- | --- | --- |
| Qingqing Cao |  Blocking channel with PCR buffer and BSA. No amplification observer on the old channel (with extension section).  run PCR on new chips(two step) Some amplification was observed. However I need to repeat it next week to check it . Using glass syringe.( borrow from Prof. Wang’s lab, the one I ordered will come next week) Using syringe pump borrow from Prof. Wang’s lab, which is much better in controlling slow flow rate. flow rate(1ul/min), 5s for 95C, 25s for 55C  run PCR product on AB machine again. On-chip PCR product has a lower ct value: 4, and lower fluorescent signal. |  Repeat on-chip PCR on new design  Using gel to measuring the size of DNA. |