Gel protocols

PCR gel – 1.5% to 2%

Large gel:

150 ml of 1X EtBr free buffer

For 2% use 3 grams agarose powder, for 1.5% use 2.25 grams

Microwave at 50% power for 2 minutes, may need an additional 				minute.

150 ul of EtBr

Medium gel:

80 ml of 1X EtBr free buffer

For 2% use 1.6 grams agarose powder. For 1.5% use 1.2 grams

Microwave at regular power for about 55 seconds, but monitor

80 ul of EtBr

Small gel:

40 ml of 1X EtBr free buffer

For 2% use 0.8 grams agarose powder, for 1.5% use 0.6 grams

Microwave at regular power for about 55 seconds, but monitor

40 ul of EtBr

DNA gel – 0.8% to 1%

Large as above but 1.5 grams agarose powder for 1%, 1.2 grams for 0.8%

Medium as above but 0.8 grams agarose powder for 1%, 0.64 grams for 			0.8%

Small as above, but 0.4 grams agarose powder for 1%, 0.32 grams for 			0.8%

Loading

1.2 ul loading dye with 5 ul of sample and ladder

100bp ladder use only 1 ul of ladder and loading dye