Emergency persons and contacts

SDS and operating manuals covered

Locations cover

Change history

Purpose

Disposables / Reagents / Equipment and safety features

Pre-operation
Gel casting
Sample preparation
Notes and specific safety instructions

Procedure
Running the gel
Notes and specific safety instructions

Post procedure
Gathering data and analysis
Row data collecting, forms and back-up
Notes and specific safety instructions

Waste disposal

ANNEX
Training procedures and minimum evaluation criteria
Test questions and practical exams for new employers
Test questions and practical exams for periodical evaluation
Row data examples, interpretation and troubleshooting
Row data format
Normal assay
Troubleshooting