Common Solutions

10x DNA Gel Loading Dye

For 10 mL:

4g		sucrose						40% (w/v)

100 uL		10 mg/mL bromophenol blue (in water)	0.1%

100 uL		10 mg/mL xylene cyanol (in water)		0.1%

2 mL		0.5 M EDTA					0.1%

# LB

For 1L:					For plates:

10 g	tryptone peptone				Also add:

5 g	yeast extract					1.5% (w/v) Bacto Agar

5 g	NaCl							(1.5 g/100 mL or 15 g/ L)

1 mL	1 N NaOH (= 200 uL 5M NaOH)		0.1 mg/mL ampicillin

Add water to 1L and autoclave

# TB

For 1L:					For 5L:

12 g 	tryptone peptone			60 g 	tryptone peptone

24 g 	yeast extract				120 g	yeast extract

4 mL	glycerol				20 mL glycerol

pH to 7.0 with 5M NaOH

pre-TB

****

10x TBE

For 1L:

108 g	Tris base						890 mM

55 g	boric acid						890 mM

40 mL	0.5 M EDTA pH 8.0					20 mM

50x TAE

For 1L:

242 g Tris base

57.1 mL glacial acetic acid

37.2 g Na2EDTA

pH to 8.5 with glacial acetic acid

# TE

For 500 mL:

5 mL 		1M Tris-Cl (pH 8.0)		(10 mM)

1 mL 		0.5M EDTA (pH 8.0)		(1 mM)

pH to 8.0

2x Proteinase K Reaction buffer

10mM TrisHCl (pH 8.0)

20mM EDTA (pH 8.0)

20mM NaCl

TBS (Tris Buffered Saline)

6.05 g Tris Base

8.76 g NaCl

800 mL Water

pH to 7.5 using HCl

Water to 1000 mL

-Store at room temp.

CaCl2 solution

60 mM CaCl2

15% glycerol

10 mM PIPES

pH 7

Filter sterilize

Store at room temperature (stable for years)