Alkaline Lysis Miniprep

David Schaffer

August, 1999

1) Reagents:

LB or TB					Glucose

0.5 M		EDTA (pH 8.0)

1 M		Tris (pH 8.0)

5 M		NaOH

10%		SDS

5 M		Potassium acetate				Glacial acetic acid

Phenol/chloroform/isoamyl alcohol (Roche 10100x)

10 mg/mL	Pancreatic RNase A (5Prime 5-888777)

2) Solutions:

Solution I:						Solution II:

50 mM		glucose			     0.2 M	NaOH (0.2 mL/5 mL)

10 mM		EDTA (2 mL/100mL)		     1 %		SDS (0.5 mL/5 mL)

25 mM		Tris-Cl (2.5 mL/100mL)	     make fresh

filter sterilize & store at 4C

Solution III:

3 M		potassium acetate (60 mL KOAc/100 mL)

2 M		acetic acid (11.5 mL glacial/100 mL)

3) Protocol:

- Innoculate 2 mL media with appropriate antibiotic & shake ON at 37C for 12-16 hrs.

- Pour media into microfuge tube.  Pellet at 5000 rpm 2 minutes, and pour off the media.

- Resuspend by vortexing in 100 uL Solution I until completely dispersed

- Add 200 uL fresh solution II and gently invert until solution is clear

- Add 150 uL of solution III, and gently invert several times

- Spin 15 minutes in microfuge 4C at max speed

- Pipet supernatant into another tube, add 200 uL phenol chloroform, and shake vigorously.  Spin at max speed for 2 minutes, and pipet upper phase into another tube.

- Add 2.5 volumes (~1 mL) of cold ethanol and mix by inverting.  Leave at –20C for ten minutes (or 0.7 volumes of isopropanol at RT for 5 min).  Spin 10 minutes at max speed at 4C.  Remove supernatant and rinse pellet with 70% ethanol.

- Pour off ethanol, and allow pellet to dry.  Add 50 uL of water containing 10 ug/mL RNase A.