General Lab Rules and Guidelines

- Always close and lock the lab door if no one is inside.

- If you notice that a general lab supply is running low, write the item description, catalog number, company, and quantity desired along with your name and the date on the white board.  Try to write items up far enough in advance to ensure that we can restock our supplies before running out.

- Always wear gloves and spray your gloves with ethanol before opening incubators.

- Please notify the lab manager of any problems ASAP.

- Always close the sash of the chemical hood when you are not working inside it (even if you step away for 20 minutes).

- Never wear gloves outside of the lab (please remove your gloves before going into the computer room or the offices).

- Please turn the light off in the cold room when you exit.  The 2nd floor cold room should be locked at all times when not in use.

- Please wipe down the balances when you are done using them and return all chemicals to back shelves.

- Always close and latch freezer doors (both –80oC and –20oC) when not in use, and always close deli fridge door.

- Turn off all orbital shakers and mixers when not in use.

- Make sure samples are capped tightly and counterbalanced appropriately when centrifuging.  Also, be sure the screw the top on the microcentrifuge during use.

- Ask before you borrow something from someone else’s bench, and please return it immediately after you finish using it.

- If something breaks, please report it to the person in charge of that lab duty.

- Keep the sinks and eye washes free of glassware, etc.

- If you don’t understand how to do something… ASK!

# Tissue Culture Rooms

- Always turn off the microscopes when you are finished using them.

- When you are finished using a hood, always spray the hood with Ethanol and wipe it down.

- If you empty a Pasteur pipette container, please restock the hood with a new one for the next hood user (empty containers go in the boxes behind the sinks in the TC rooms).

- Always check to make sure that the vacuum and pipetman are turned off when you finish.

- Please follow proper safety procedures and sterile techniques (described in sterile techniques document).