| Progress for the week 9-1 to 9-7 1-Made chips for silica optimization.2 cm Channels with a precise volume of 3.6 ul injected in. 2-measureing dry mass of silica: 100ul of silica solution contains 100ug dry silica. Same is true for 50ul and 10ul. 3-made ultra thin chips for Silica SEM imaging, with different dry weight of silica. 10 50 and 100ug with 100ul spe mix. Tried to use the Dicer to cut the chips but it was not successful. 4-prepared 4 different dilutions of lambda phage to run in channels along with controls. Total mass of DNA rather than concentration was adopted as unit of measurement. 5-ran only one single dilution in order to trouble shoot procedure in case technique was not appropriate 6-fractions collected after injecting the DNA into channels and at the end at the elution step need to be measured using nanodrop. 7-met with Mincheols biointerface group and discussed the problems of making the wafer. But did not have any time to work on the fabrication myself. | Plans for the week 9-8 to 9-14 1-complete the lambda phage experiment#1 of silica optimization on Tuesday for the remaining 3 concentrations. 2-write a program on matlab that can calculate the percentage of silica in a standard picture size to estimate the amount of silica in preps. 3-Continue making chips for Sonali 4-came up with a design for chip fixture that can incorporate any channel length in one versatile fixture. Have to draw it on autocad 5-Start weekly sessions of simulation with Mincheol to learn the program. 6-more SEM pictures of channels and troubleshoot some minor problem during sample prep such as methanol wash. 7-try to fabricate 20um high features for the biointerface project. |
| --- | --- |