Standard Operating Procedures

Laboratory Specific

Chemical: Potassium Hydroxide

Please fill out the form completely.  Print a copy and insert into your

Laboratory Safety Manual and Chemical Hygiene Plan.

Refer to instructions for assistance.

_____________________________________________________________________________

Department:________________________                     Date when SOP was written: _________

Date when SOP was approved by the lab supervisor: ___________________

Principal Investigator: _______________________________

Internal Laboratory Safety Coordinator/Lab Manager: __________________________________

Laboratory Phone: _________________       Office Phone: ___________________

Emergency Contact: __________________________________________________

(Name and Phone Number)

Location(s) covered by this SOP: _________________________________________

(Building/Room Number)

_____________________________________________________________________________

Type of SOP:            Process            Hazardous Chemical             Hazardous Class

Purpose

KOH is highly basic, forming strongly alkaline solutions in water and other polar solvents. These solutions are capable of deprotonating many acids, even weak ones. Potassium hydroxide is used in neutralization reactions to yield many potassium salts.  KOH works well in the manufacture of biodiesel by transesterification of the triglycerides in vegetable oil. Aqueous potassium hydroxide is employed as the electrolyte in alkaline batteries based on nickel-cadmium and manganese dioxide-zinc.

Physical & Chemical Properties/Definition of Chemical Group

CAS# 				1310-58-3

Class:				Corrosive, Water-Reactive

Molecular Formula:		KOH

Form (Physical State):		White solid

Boiling Point:			1320OC

Melting point: 			361OC

Potential Hazards/Toxicity

Harmful through inhalation or skin absorption, Destructive to the Tissue or the Mucous Membranes and Upper Respiratory Tract, Causes Burns to the Skin and Eyes, Toxic through Ingestion, Causes Severe Digestive Tract Burns with Abdominal Pain, Vomiting and Possible Death

Acute toxicity

Oral LD50 [rat] 273 mg/kg

Personal Protective Equipment (PPE)

Respirator protection

Please use potassium hydroxide in a chemical fume hood at all times.  When a respirator is the sole means of protection, use a full-face supplied air respirator.

Respirators should be used only under any of the following circumstances:

- As a last line of defense (i.e., after engineering and administrative controls have been exhausted).

- When Permissible Exposure Limit (PEL) has exceeded or when there is a possibility that PEL will be exceeded.

- Regulations require the use of a respirator.

- An employer requires the use of a respirator.

- There is potential for harmful exposure due to an atmospheric contaminant (in the absence of PEL)

- As PPE in the event of a chemical spill clean-up process

Lab personnel intending to use/wear a respirator mask must be trained and fit-tested by EH&S. This is a regulatory requirement. (http://map.ais.ucla.edu/go/1004655)

Hand protection

Neoprene, nitrile or butyl rubber gloves are recommended.  Consult with your preferred glove manufacturer to ensure that the gloves you plan on using are compatible with Potassium Hydroxide.

Refer to glove selection chart from the links below:

http://www.ansellpro.com/download/Ansell_8thEditionChemicalResistanceGuide.pdf

OR

http://www.allsafetyproducts.biz/page/74172

OR

http://www.showabestglove.com/site/default.aspx

OR

http://www.mapaglove.com/

Eye protection

When handling the chemical, wear safety glasses and a face shield.

Skin and body protection

Lab personnel working with the chemical need to wear full-length pants or its equivalent, closed-toe footwear with no skin being exposed, and a lab coat.

Hygiene measures

Avoid contact with skin, eyes and clothing. Wash hands before breaks and immediately after handling the product.

Engineering Controls

Work with this chemical in a certified ducted fume hood.  Facilities storing or utilizing this material should be equipped with an eyewash facility and a safety shower.

First Aid Procedures

If inhaled

Move person into fresh air. If not breathing, give artificial respiration. Consult a physician.

In case of skin contact

Take off contaminated clothing immediately.  Wash off with soap and plenty of water for 15 minutes. Take victim immediately to hospital. Consult a physician.

In case of eye contact

Rinse thoroughly with plenty of water for at least 15 minutes, occasionally lifting the upper and lower eyelids.  Get medical aid immediately.  Continue to wash eyes during transport to the hospital.

If swallowed

Do not induce vomiting.  Never give anything by mouth to an unconscious person. Rinse mouth with water. Consult a physician.

Special Handling and Storage Requirements

Precautions for safe handling

Wash thoroughly after handling. Use with adequate ventilation. Do not allow water to get into the container because of violent exothermic reaction. Do not get in eyes, on skin, or on clothing. Do not ingest or inhale. Avoid formation of dust and aerosols.  Provide appropriate exhaust ventilation at places where dust is formed.

Conditions for safe storage

Store in a tightly closed container. Store in a cool, dry, well-ventilated area away from incompatible substances. Keep away from strong acids. Keep away from water. Keep away from metals. Keep away from flammable liquids. Keep away from organic halogens.  Absorbs CO2 from the air.

Spill and Accident Procedure

Chemical Spill Dial 911 and x59797

Spill – Help contaminated or injured persons.  Evacuate the spill area.  Avoid breathing vapors.  Eliminate sources of ignition if the chemical is flammable.  If possible, confine the spill to a small area using a spill kit or absorbent material. Keep others from entering contaminated area (e.g., use caution tape, barriers, etc.).

Small (<1 L) – If you have training, you may assist in the clean-up effort.  Use appropriate personal protective equipment and clean-up material for chemical spilled.  Double bag spill waste in clear plastic bags, label and take to the next chemical waste pick-up.

Large (>1 L) – Dial 911 (or 310-825-1491 from cell phone) and EH&S at x59797 for assistance.

Chemical Spill on Body or Clothes – Remove clothing and rinse body thoroughly in emergency shower for at least 15 minutes.  Seek medical attention. Notify supervisor and EH&S at x59797 immediately.

Chemical Splash Into Eyes – Immediately rinse eyeball and inner surface of eyelid with water for 15 minutes by forcibly holding the eye open.  Seek medical attention. Notify supervisor and EH&S at x59797 immediately.

# Medical Emergency Dial 911 or x52111

Life Threatening Emergency, After Hours, Weekends And Holidays – Dial 911 (or 310-825-1491 from cell phone) or contact the Ronald Reagan UCLA Medical Center (emergency room) directly at x52111 (located at 757 Westwood Plaza, enter from Gayley Avenue). Note: All serious injuries must be reported to EH&S at x59797 within 8 hours.

Non-Life Threatening Emergency–  Go to the Occupational Health Facility (OHF), x56771, CHS room 67-120 (This is on the 6th floor, 7th corridor, room 120. Enter through the School of Dentistry on Tiverton Drive and proceed to the “O” elevator to the 6th floor.)Hours: M - F, 7:30 a.m. to 4:30 p.m. At all other times report to Ronald Regan UCLA Medical Center (emergency room) at x52111. Note: All serious injuries must be reported to EH&S at x59797 within 8 hours.

Needle stick/puncture exposure (as applicable to chemical handling procedure)–  Wash the affected area with antiseptic soap and warm water for 15 minutes. For mucous membrane exposure, flush the affected area for 15 minutes using an eyewash station. Page the needle stick nurse by dialing 231 from a campus phone, enter 93333 when prompted and then enter your extension.  Hours: M – F, 8:00 a.m. to 4:00 p.m. At all other times report to Ronald Regan UCLA Medical Center (emergency room) at x52111. Note: All needle stick/puncture exposures must be reported to EH&S at x59797 within 8 hours.

Decontamination/Waste Disposal Procedure

Wearing proper PPE, please decontaminate equipment and bench tops using soap and water.  Please dispose of the spent potassium hydroxide and disposables contaminated with potassium hydroxide as hazardous waste.

General hazardous waste disposal guidelines:

Label Waste

- Affix an on-line  hazardous waste tag on all waste containers using the Online Tag Program http://otp.ucop.edu/ as soon as the first drop of waste is added to the container

Store Waste

- Store hazardous waste in closed containers, in secondary containment and in a designated location

- Double-bag dry waste using transparent bags http://map.ais.ucla.edu/go/1002774

- Waste must be under the control of the person generating & disposing of it

Dispose of Waste

- Dispose of regularly generated chemical waste within 90 days

- Call EH&S at x61887 for questions

- Empty Containers

- Dispose as hazardous waste if it once held extremely hazardous waste (irrespective of the container size) http://ehs.ucla.edu/Pub/ExtremelyHazardousWaste.pdf

- Consult waste pick-up schedule http://ehs.ucla.edu/pub/HazWaste%20Pickup%20Schedule.pdf

Prepare for transport to pick-up location

- Check on-line waste tag

- Write date of pick-up on the waste tag

- Use secondary containment

Safety Data Sheet (SDS) Location

(State the location of SDS)

Hardcopy or electronic copy must be available.

Online SDS can be accessed at http://msds.ehs.ucla.edu.

Protocol/Procedure

(Add specific description of procedure)

NOTE

Any deviation from this SOP requires approval from PI.

Documentation of Training (signature of all users is required)

- The Principal Investigator must provide his/her laboratory personnel with a copy of this SOP and a copy of the SDS provided by the manufacturer.

- The Principal Investigator must ensure that his/her laboratory personnel have attended appropriate laboratory safety training or refresher training within the last one year.

I have read and understand the content of this SOP:

Name                                             	Signature                                      Date

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________

________________________________		____________________________	____________